## Slide 1: BESS × RECC
for the solution to India network
Shinichiro KENGAKU
Managing Executive Officer
Tokyo Electric Power Company Holdings, Inc.

## Slide 2
TEPCO: who are we? (1)
600 pjts
for
70 countries
Outage:
4min p.a.
(2014,SAIDI)
29mil; costumers in the Tokyo metropolitan area.
Fukushima nuclear accident and nationalized.
World highest reliability.
Technical expertise to all over the world.

## Slide 3
TEPCO: who are we? (2)
Utility Scale
Battery Energy
Storage System (BESS)
Key techs & applications
Renewable Energy Control Centre
(RECC)
Big data O&M
Distributed Generations
Paradigm shifting to:
“the Green & Innovation (G&I)”

## Slide 4
TEPCO: who are we? (3)
We know you;
  28 projects in India.
  2 year analysis in Rajasthan.

## Slide 5
Knowledge through analysis in Rajasthan
Solar is smaller but wind is higher fluctuation to cause imbalance.
How to harness capricious wind generations is the key.
Rajasthan’s total daily Wind power summary in 2014 (MW)
900MW
72MW

## Slide 6
Proposing Solutions in Rajasthan
BESS × RECC
Make electricity to be storable
Make renewable energy to be tame

## Slide 7
Proposing Solutions in Rajasthan: BESS X RECC
Absorb fluctuation in a gentle way.
Suitable capacity size, shorter term construction period.
Reduce fuel cost & CO2.
Reserve Capacity
BESS
Standby Capacity Dispatch
Standby Capacity
Actual
generation
Predicted
generation

## Slide 8
Proposing Solution in Rajasthan : BESS X RECC
Supervises and aggregates the RE resources.
Meets suitable supply and demand balance by utilizing BESS.
PCS
SCADA or TSC
Wind power generation
Solar power generation
Electric power company system
Thermal power generation plant
System linkage apparatus
Supervisory control system
(Renewable Energy Control Centre)
RECC
Power grid
PCS
Communication grid
Nuclear power
generation plant
Hydro power/
pumped hydro
generation plant
PCS
PCS
Solar power generation
PCS
BESS
Wind power generation
PCS
BESS

## Slide 9
<Assumed Specifications>
Power Type Battery(Lithium-ion Battery)
- Output : 2MW
- Capacity: 1MWh
Capacity Type Battery(NAS Battery)
- Output : 0.8MW
- Capacity: 4.8MWh
PCS (for Capacity Type Battery)
Capacity Type Battery
PCS (for Power Type Battery)
Power Type Battery
Power Type Battery
Auxiliary Facilities
(Step-up Transformer, etc.)
35m
12m
10m
6m
4m
3m
3m
3m
6m
2.4m
2.4m
7m
3m
BESS
Substation
3m
3m
3m
3m
SLDC/RECC
Monitoring,
Controlling
TEPCO has already a concreate proposal of the demo project, based on 2 year analysis.
Proposing Solutions in Rajasthan : BESS X RECC

## Slide 10
Battery charging/discharging control
RECC
Server
Local Controller
Trans., etc
PCS
Local Controller
Trans., etc
PCS
Local Controller
Trans., etc
PCS
HMI-1
HMI-2
SLDC
Server
Network
Site-A
Site-B
Site-N
SLDC
RECC
Battery Storage
Battery Storage
Battery Storage
- Actual wind generation output
- Wind generation’s prediction data
- State of charge (SOC)
System Image of RECC
RECC Server
HMI-1
HMI-2
TEPCO also has an overall system configuration diagram of RECC for the demo project.
Proposing Solution in Rajasthan: BESS X RECC

## Slide 11
Also contribute to a future ancillary market.
Great potential of BESS
More flexible and cost-effective power source
BESS

## Slide 12
TEPCO Rajasthan aur Bharat ke bijali kshetra ki safalta mei
yogdaan karna chaahta hain.
Dhanyawaad！